## Sheet3 (hidden)
2005
CO2 Emissions / million t | 288
CO2 Emissions / t | 288000000
GDP / bil MYR | 543578000000
GDP / bil USD | 135894500000
CO2 Emission Intensity of GDP / t ('000 MYR)-1 | 0.52982
2019
CO2 Emissions / million t | 350
CO2 Emissions / t | 350000000
GDP / bil USD | 364700000000
GDP / bil MYR | 1458800000000
CO2 Emission Intensity of GDP / t ('000 MYR)-1 | 0.23992
% Reduction | 54.72%
POWER GENERATION CARBON EMISSION INTENSITY PROJECTION (kg CO2/RM) |  |  |  | 0.00265
YEARS | CO2 Intensity | Projected GDP / RM | CO2 Emissions / Mt
2019 |  |  | 103
2020 | 0.082 | 1334640000000 | 109.4405
2025 | 0.068 | 1.7034e+12 | 115.8296 | Malaysia targets GDP growth of 4.5-5.5% annually between 2021 and 2025
2028 | 0.061 | 1.9719e+12 | 120.2841
2030 | 0.053 | 2.174e+12 | 115.2214
2031 | 0.05035 | 2.2827e+12 | 114.9333
2032 | 0.0477 | 2.3968e+12 | 114.3284
2033 | 0.04505 | 2.5167e+12 | 113.3757
2034 | 0.0424 | 2.6425e+12 | 112.0418
2035 | 0.03975 | 2.7746e+12 | 110.2912
2036 | 0.0371 | 2.9134e+12 | 108.0853
2037 | 0.03445 | 3.059e+12 | 105.3832
2038 | 0.0318 | 3.212e+12 | 102.1407
2039 | 0.02915 | 3.3726e+12 | 98.3104
2040 | 0.0265 | 3.5412e+12 | 93.8417
2041 | 0.02385 | 3.7183e+12 | 88.6804
2042 | 0.0212 | 3.9042e+12 | 82.7684
2043 | 0.01855 | 4.0994e+12 | 76.0435
2044 | 0.0159 | 4.3043e+12 | 68.4391
2045 | 0.01325 | 4.5196e+12 | 59.8842
2046 | 0.0106 | 4.7455e+12 | 50.3028
2047 | 0.00795 | 4.9828e+12 | 39.6134
2048 | 0.0053 | 5.232e+12 | 27.7294
2049 | 0.00265 | 5.4936e+12 | 14.5579
2050 | 6.0715e-18 | 5.7682e+12 | 3.5022e-14
POWER GENERATION DEMAND PROJECTION
YEARS | DEMAND (MW) | DEMAND (MWh) | DEMAND (TWh)
2020 | 18808 | 135417600 | 135.4176 | Growth of 0.6% p.a. for 2021-2030
2025 | 18442 | 132782400 | 132.7824
2030 | 19726 | 142027200 | 142.0272 | Growth of 1.8% p.a. for 2031-2040
2035 | 21634 | 155764800 | 155.7648
2040 | 23093 | 166269600 | 166.2696 | Assumed growth of 2% p.a. for 2041-2050
2045 | 25496.538 | 183575073.5157 | 183.5751
2050 | 28150.2381 | 202681714.6148 | 202.6817

## Sheet2 (hidden)
CATEGORY | FUEL | ENERGY UNIT | INTENSITY UNIT | CO2 LOAD UNIT | COST UNIT | ENERGY COST UNIT | PERIODS | TECHNOLOGY
REN | NG | TWh/y | Gt/TWh | Gt/y | mil RM/y | mil RM/TWh | 1 | YES
FOSSIL FUEL | OIL | GWh/y | Gt/GWh | Mt/y | RM/y | RM/TWh | 2 | NO
| COAL | MWh/y | Gt/MWh | kt/y | mil USD/y | mil USD/TWh | 3
| FUEL OIL | kWh/y | Gt/kWh | t/y | USD/y | USD/TWh | 4
| SOLAR |  | Mt/TWh |  | mil GBP/y |  | 5
| HYDRO |  | Mt/GWh |  | GBP/y |  | 6
| BIOGAS |  | Mt/MWh |  | mil Euro/y |  | 7
| BIOMASS |  | Mt/kWh |  | Euro/y |  | 8
| MSW |  | kt/TWh |  | mil JPY/y |  | 9
|  |  | kt/GWh |  | JPY/y |  | 10
|  |  | kt/MWh |  | mil Peso/y |  | 11
|  |  | kt/kWh |  | Peso/y |  | 12
|  |  | t/TWh |  |  |  | 13
|  |  | t/GWh |  |  |  | 14
|  |  | t/MWh |  |  |  | 15
|  |  | t/kWh |  |  |  | 16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50

## PLANT_DATA
PLANT DATA
The definition of each parameter in Table 1 is as follows:
Category | Category of fuels i.e., renewables & fossil fuels
Fuel | Type of fuel utilised for each plant e.g., hydro, biomass, natural gas etc.
LB | Lower bound for energy output for each plant
UB | Upper bound for energy output for each plant
CI | Carbon intensity of fuel used for each plant
ON | Periods for power plants to be commissioned
OFF | Periods for power plants to be decommissioned
KEY POINTS TO NOTE FOR USERS
Renewable energy sources i.e., wind, solar, hydro etc. should be laballed as 'REN' at the 'Category' row
A user may delete columns that are not required. Deleting the data alone (without column deletion) would result in Python registering the data as N/A, thus triggering an error
A user may delete rows that are not required. Deleting data alone (without row deletion) would result in Python registering the data as N/A, triggering an error
For the decommission period, if the plant does not decommission, kindly input the number as (number of periods+1)
| User to define heading for each plant |  |  | Period | Years | Data year
| User to define parameters for each plant/period |  |  | 1 | 2020 - 2024 | 2025
| User should not alter these headings |  |  | 2 | 2025 - 2029 | 2030
|  |  |  | 3 | 2030 - 2034 | 2035
Parameter units (Please choose based on user's preference) |  |  |  | 4 | 2035 - 2039 | 2040
Energy | TWh/y |  |  | 5 | 2040 - 2044 | 2045
CO2 Intensity | Mt/TWh |  |  | 6 | 2045 - 2049 | 2050
CO2 Load | Mt/y
Cost | mil USD/y
Energy cost | mil USD/TWh
OBJECTIVE FUNCTION
min_budget | This objective minimises the total budget allocation, subject to the satisfaction of the demand and emissions constraints for each period
min_emission | This objective minimises the total CO2 emissions, subject to the satisfaction of the demand and budget allocation constraints for each period
max_profit | This objective maximized the profits, subject to the satisfaction of the demand, budget allocation and emissions constraints for each period, feasibility of the model and the data is also tested
Optimisation Choice | min_emission | Please choose between min budget or min emissions |  |  | Carbon Trading (CT) | ON | Please choose to turn the carbon trading on or off, proper commenting is required in the code (lines 1372 to 1382, and lines 1467 to 1475) accordingly
Number of periods | 4 | Please choose the number of periods from the drop down list |  |  | Emissions Balance | 0 | Please write the starting emissions balance (it should be a real number)
Initial Electricity Price | 99 | Please indicate the initial electricity price for first period |  |  | Emissions for CT | 1 | Please indicate the percentage/100 of emissions, which will participate in CT
Plant Profit | ON | Please choose to turn on (always positive) or off the net plant profit |  |  | Elec_Price Increase | 0 | Please indicate the minimum increase in electricity price as we move from one period to the next in %age
Max Electricity Price | 200 | Please indicate the maximum electricity price for final period |  |  | Print Results | YES | Please indicate if results are to be displayed in excel or not
TABLE 1: PLANT DATA
| Jamshoro Steam unit 1 | Jamshoro Steam units 2 - 4 | Muzaffargarh ST(1-3 & 5-6) | Muzaffargarh Steam unit 4 | Hub Power Project (HUBCO) | Kohinoor Energy Ltd. | AES (Lalpir & PakGen) | Saba Power | Attock Generation PP | ATLAS Power | Nishat P.P. Near Lahore | Nishat Chunian Proj. Lahore | Liberty Tech | Hubco Narowal | Reshma Power | Gulf Power | Kotri Combined Cycle | Guddu Steam (3 , 4) | Guddu C.C. units 1-6 | Guddu C.C. units 7-9 | Guddu C.C. 747 MW | Faisalabad Combined Cycle | Habibullah Coastal | Uch Power Project | Liberty Power Project | Engro P.P. Daharki, Sindh | Foundation Power | Saphire Muridke | Halmore Bhikki | Uch-II | Nandipur Combined Cycle | Kot Addu C.C. (1-4 & 9-10) | Kot Addu C.C. (5-8 & 11-12) | Kot Addu C.C. units 13-15 | Rousch(Pakistan) Power Ltd. | Fauji Kabirwala | Altern Energy Ltd. (AEL) | Davis Energen | Saif P.P. Sahiwal, Punjab | Orient P.P. Balloki, Punjab | Bhikki C.C. | Haveli Bahadur Shah C.C. | Balloki C.C. | Trimmun C.C. | Lakhra Fluidized Bed Coal | Sahiwal Coal | Port Qasim Power Project | HUB Power Company Ltd. | Coal Based Power Plant at Gawadar | Engro Powergen Project at Thar | Thar Energy Limited (HUBCO Ltd.) | Thal NOVA Thar Coal | Shanghai Electric Power Project | Lucky Electric Power Company Ltd. | Siddiqsons Limited | Jamshoro Coal Power Plant | Thar CFPP 1 | Thar CFPP 2 | Thar CFPP 3 | Thar CFPP 4 | Thar CFPP 5 | Thar CFPP 6 | Thar CFPP 7 | Thar CFPP 8 | Chashma Nuclear (PAEC)-I | Chashma Nuclear (PAEC)-II | Chashma Nuclear (PAEC)-III | Chashma Nuclear (PAEC)-IV | Karachi Coastal Nuclear Power Plant | CHASHNUPP-V | Pattan | Dasu Hydel | Mahl | Phander | Shyok HPP | Jagran-III | Azad Pattan | Diamer Basha | Harigel | Lower Palas | Ashkot HPP | Lower Spat Gah | Chakothi | Harpo | Bunji Hydel | Mohmand Dam | Taunsa | Lawi | Matiltan | Thakot HPP | Tarbela5 | Gumat Nar HPP | Luat HPP | Basho HPP | Kaigah HPP | Yalbo HPP | Tangas HPP | Chiniot HPP | Renala | Malakand | Rasul | Dargai | Kurram Garhi | Chichonki Malian | Warsak | Shadiwal | Nandipur | Mangla | Chitral | Tarbela | Chashma | Jagran | Ghazi-Barotha | Malakand-III | Khan Khwar | Pehur | Jinnah | Garam Chashma | Allai Khwar | Gomal Zam | Laraib Energy | Duber Khwar | Patrind Hydro | Golen Gol | Neelum–Jhelum | Marala Hydro (PPDCL) | Tarbela4 | Gulpur Hydropower Plant | Daral Khwar | Ranolia | Karot | Zorlu Enerji Pakistan (Pvt.) Ltd | FFC Energy | Three Gorges First Wind Farm | Foundation Wind Energy – I | Foundation Wind Energy – II | Sapphire Wind | Yunus Energy | Metro Power Company | Gul Ahmad Wind | Master Wind Energy | Tenaga Generai | HydroChina Dawood Wind Power | Sachal Energy Development | United Energy Pakistan Wind Power | Artistic Wind Power | Act Wind (Tapal Wind) | Hawa Energy | Jhampir Power | Three Gorges Second Wind Farm | Three Gorges Third Wind Farm | Tricon Boston Consulting-A | Tricon Boston Consulting-B | Tricon Boston Consulting-C | Zephyr Power | Master Green Energy Pvt Ltd | Tricom Wind Power (Pvt.) Ltd. | Din Energy Limited | Lucky Renewables PVt. Ltd (TRICOM) | Master Green Energy Ltd | Act 2 Din Wind Pvt Ltd | Artistic Wind Power Pvt. Ltd | Indus Wind Energy Limited | Lakeside Energy | Liberty Wind Power-1 | Gul Ahmed Electric Limited | Liberty Wind Power-II (Pvt.) Ltd | NASDA Green Energy (Pvt) Limited | Metro 2 Wind Power Limited | Candidate Wind Block-I | Candidate Wind Block-II | Candidate Wind Block-III | Candidate Wind Block-IV | Candidate Wind Block-V | Candidate Wind Block-VI | Candidate Wind Block-VII | Candidate Wind Block-VIII | Candidate Wind Block-IX | Candidate Wind Block-X | Candidate Wind Block-XI | Candidate Wind Block-XII | Candidate Wind Block-XIII | Candidate Wind Block-XIV | Quaid-e-Azam Solar Park | Appolo Solar Development | Best Green Energy | Crest Energy | AJ Power Pvt. Ltd. | Harappa Solar Pvt. Ltd | Oursun Pakistan | Gharo Solar | Zhenfa Pakistan New Energy Company Limited | Zorlu Solar | Candidate Solar Block-I | Candidate Solar Block-II | Candidate Solar Block-III | Candidate Solar Block-IV | Candidate Solar Block-V | Candidate Solar Block-VI | Candidate Solar Block-VII | Candidate Solar Block-VIII | Candidate Solar Block-IX | Candidate Solar Block-X | Candidate Solar Block-XI | Candidate Solar Block-XII | Candidate Solar Block-XIII | Candidate Solar Block-XIV | Candidate Solar Block-XV
Category | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | FOSSIL FUEL | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN | REN
Fuel | OIL | OIL | OIL | OIL | OIL | OIL | OIL | OIL | OIL | OIL | OIL | OIL | OIL | OIL | OIL | OIL | NG | NG | NG | NG | NG | NG | NG | NG | NG | NG | NG | NG | NG | NG | NG | NG | NG | NG | NG | NG | NG | NG | NG | NG | NG | NG | NG | NG | COAL | COAL | COAL | COAL | COAL | COAL | COAL | COAL | COAL | COAL | COAL | COAL | COAL | COAL | COAL | COAL | COAL | COAL | COAL | COAL | NUCLEAR | NUCLEAR | NUCLEAR | NUCLEAR | NUCLEAR | NUCLEAR | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | HYDRO | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | WIND | SOLAR | SOLAR | SOLAR | SOLAR | SOLAR | SOLAR | SOLAR | SOLAR | SOLAR | SOLAR | SOLAR | SOLAR | SOLAR | SOLAR | SOLAR | SOLAR | SOLAR | SOLAR | SOLAR | SOLAR | SOLAR | SOLAR | SOLAR | SOLAR | SOLAR
LB | 0.0025 | 0.01 | 0.01 | 0.0005 | 0.01 | 0.01 | 0.025 | 0.005 | 0.05 | 0.025 | 0.025 | 0.025 | 0.025 | 0.025 | 0.0025 | 0.05 | 0.25 | 0.25 | 1.025 | 0.75 | 1.5 | 0.25 | 0.25 | 1.125 | 0.5 | 0.5 | 0.5 | 0.125 | 0.125 | 0.75 | 0.375 | 0.125 | 0.125 | 0.025 | 0.125 | 0.05 | 0.00025 | 0.00025 | 0.1 | 0.125 | 1.5 | 2.025 | 1.775 | 2.05 | 0.06 | 3.6 | 0.91 | 0.9 | 0.15 | 0.5 | 0.25 | 0.25 | 0.9 | 0.5 | 0.25 | 2.46 | 0.9 | 0.9 | 0.8 | 1.2 | 1.2 | 1.2 | 0.6 | 1.5 | 0.2087 | 0.2087 | 0.225 | 0.225 | 1.4106 | 0.7018 | 8.261 | 7.6256 | 2.5419 | 0.31773 | 2.5419 | 0.12709 | 2.5419 | 12.0738 | 0.15887 | 2.5419 | 0.95319 | 1.5887 | 1.5887 | 0.12709 | 8.261 | 2.5419 | 0.63546 | 0.31773 | 0.31773 | 12.7093 | 0.95319 | 0.15887 | 0.13345 | 0.095319 | 1.3345 | 7.6256 | 5.7192 | 0.15887 | 0.0026163 | 0.063546 | 0.063546 | 0.063546 | 0.012709 | 0.063546 | 0.69901 | 0.063546 | 0.063546 | 3.1773 | 0.0026163 | 9.5319 | 0.63546 | 0.08261 | 3.8128 | 0.31773 | 0.19064 | 0.063546 | 0.25419 | 0.0026163 | 0.31773 | 0.063546 | 0.31773 | 0.38128 | 0.63546 | 0.31773 | 2.5419 | 0.025419 | 3.8128 | 0.31773 | 0.12709 | 0.063546 | 1.9064 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.33221 | 0.1661 | 0.099662 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 0.1661 | 1.4949 | 1.4949 | 1.4949 | 1.4949 | 1.4949 | 1.4949 | 1.4949 | 1.4949 | 1.4949 | 1.4949 | 1.4949 | 1.4949 | 1.4949 | 1.4949 | 0.76404 | 0.76404 | 0.76404 | 0.76404 | 0.080316 | 0.15281 | 0.38202 | 0.38202 | 0.76404 | 0.76404 | 3.0562 | 3.0562 | 3.0562 | 3.0562 | 3.0562 | 3.0562 | 3.0562 | 3.0562 | 3.0562 | 3.0562 | 3.0562 | 3.0562 | 3.0562 | 3.0562 | 3.0562
UB | 0.01 | 0.04 | 0.04 | 0.002 | 0.04 | 0.04 | 0.1 | 0.02 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.01 | 0.2 | 1 | 1 | 4.1 | 3 | 6 | 1 | 1 | 4.5 | 2 | 2 | 2 | 0.5 | 0.5 | 3 | 1.5 | 0.5 | 0.5 | 0.1 | 0.5 | 0.2 | 0.001 | 0.001 | 0.4 | 0.5 | 6 | 8.1 | 7.1 | 8.2 | 0.2 | 9 | 9.1 | 9 | 1.5 | 5 | 2.5 | 2.5 | 9 | 5 | 2.5 | 8.2 | 3 | 3 | 2 | 3 | 4 | 4 | 1.5 | 5 | 2.087 | 2.087 | 2.25 | 2.25 | 14.106 | 7.018 | 13 | 12 | 4 | 0.5 | 4 | 0.2 | 4 | 19 | 0.25 | 4 | 1.5 | 2.5 | 2.5 | 0.2 | 13 | 4 | 1 | 0.5 | 0.5 | 20 | 1.5 | 0.25 | 0.21 | 0.15 | 2.1 | 12 | 9 | 0.25 | 0.0041172 | 0.1 | 0.1 | 0.1 | 0.02 | 0.1 | 1.1 | 0.1 | 0.1 | 5 | 0.0041172 | 15 | 1 | 0.13 | 6 | 0.5 | 0.3 | 0.1 | 0.4 | 0.0041172 | 0.5 | 0.1 | 0.5 | 0.6 | 1 | 0.5 | 4 | 0.04 | 6 | 0.5 | 0.2 | 0.1 | 3 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 0.5 | 0.3 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 1 | 1 | 1 | 1 | 0.10512 | 0.2 | 0.5 | 0.5 | 1 | 1 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
CI | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15
ON | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 1 | 1 | 1 | 1 | 1 | 2 | 3 | 2 | 2 | 1 | 3 | 1 | 2 | 2 | 1 | 2 | 2 | 2 | 2 | 1 | 3 | 1 | 1 | 1 | 1 | 3 | 2 | 1 | 1 | 3 | 3 | 3 | 3 | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 4
OFF | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 2 | 2 | 2 | 2 | 5 | 2 | 3 | 3 | 4 | 5 | 5 | 5 | 5 | 5 | 5 | 2 | 2 | 3 | 3 | 3 | 2 | 2 | 5 | 5 | 5 | 5 | 5 | 5 | 2 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
If a user would like to perform any calculations or input notes, a user could do it from row 63 onwards.
Kindly REFRAIN from typing on the right of the table (column J, K, etc.)
CATEGORY | FUEL | ENERGY UNIT | INTENSITY UNIT | CO2 LOAD UNIT | COST UNIT | ENERGY COST UNIT | PERIODS
REN | NG | TWh/y | Gt/TWh | Gt/y | mil RM/y | mil RM/TWh | 1
FOSSIL FUEL | OIL | GWh/y | Gt/GWh | Mt/y | RM/y | RM/TWh | 2
| COAL | MWh/y | Gt/MWh | kt/y | mil USD/y | mil USD/TWh | 3
| FUEL OIL | kWh/y | Gt/kWh | t/y | USD/y | USD/TWh | 4
| SOLAR |  | Mt/TWh |  | mil GBP/y |  | 5
| HYDRO |  | Mt/GWh |  | GBP/y |  | 6
| BIOGAS |  | Mt/MWh |  | mil Euro/y |  | 7
| BIOMASS |  | Mt/kWh |  | Euro/y |  | 8
| MSW |  | kt/TWh |  | mil JPY/y |  | 9
| WIND |  | kt/GWh |  | JPY/y |  | 10
| NUCLEAR |  | kt/MWh |  | mil Peso/y |  | 11
|  |  | kt/kWh |  | Peso/y |  | 12
|  |  | t/TWh |  |  |  | 13
|  |  | t/GWh |  |  |  | 14
|  |  | t/MWh |  |  |  | 15
|  |  | t/kWh |  |  |  | 16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50

## ENERGY_PLANNING_DATA
The definition of each parameter in Table 2 is as follows:
Period | Period Number
Energy Demand | Energy demand
Emission Limit | Emission limit
Budget | Budget allocation
TABLE 2: ENERGY PLANNING DATA
Period | Demand | Limit | Budget | Carbon Emissions Requirement | Carbon Emissions Price | Emissions Price LB | CT Additional Budget | Tax (Solar) | Tax (Hydro) | Tax (NG) | Tax (Oil) | Tax (Coal) | Tax (Biomass) | Tax (Biogas) | Tax (MSW) | Tax (Wind) | Tax (Nuclear)
1 | 197 | 200 | 14000 | 15 | 20 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 249 | 170 | 18000 | 30 | 25 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 333 | 130 | 23000 | 45 | 35 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 447 | 80 | 30000 | 60 | 50 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## FINAL_RESULTS
Period | Emissions | Cost | Profit
1 | 0 | 13967.5363 | 5535.4637
2 | 0 | 219.9723 | 31538.119
3 | 0 | 1534.0078 | 43519.5757
4 | 0 | 2089.9951 | 62471.3455

## FUEL_COST_DATA
The definition of each parameter in Table 3 is as follows:
Period | Period Number
NG | Cost of natural gas fuel for power plants
OIL | Cost of oil fuel for power plants
COAL | Cost of coal fuel for power plants
SOLAR | Cost of solar as energy source for power generation
HYDRO | Cost of hydro as energy source for power generation
BIOGAS | Cost of biogas as energy source for power generation
BIOMASS | Cost of biomass as energy source for power generation
MSW | Cost of municipal solid waste (MSW) as energy source for power generation
TABLE 3: COSTS OF FUELS IN POWER PLANTS
Period | NG | OIL | COAL | SOLAR | HYDRO | BIOGAS | BIOMASS | MSW | WIND | NUCLEAR
1 | 0.018457 | 0.046222 | 0.010598 | 0 | 0 | 0.017061 | 0.017061 | 0.017061 | 0 | 0.0031893
2 | 0.018457 | 0.046222 | 0.010598 | 0 | 0 | 0.013649 | 0.013649 | 0.013649 | 0 | 0.0031893
3 | 0.018457 | 0.046222 | 0.010598 | 0 | 0 | 0.011942 | 0.011942 | 0.011942 | 0 | 0.0031893
4 | 0.018457 | 0.046222 | 0.010598 | 0 | 0 | 0.010236 | 0.010236 | 0.010236 | 0 | 0.0031893

## RENEWABLE_CI_DATA
The definition of each parameter in Table 4 is as follows:
Period | Period Number
SOLAR | Carbon intensity of solar compensatory energy
HYDRO | Carbon intensity of hydropower compensatory energy
BIOMASS | Carbon intensity of biomass compensatory energy
BIOGAS | Carbon intensity of biogas compensatory energy
MSW | Carbon intensity of MSW compensatory energy
TABLE 4: CO2 INTENSITIES OF RENEWABLE ENERGIES
Period | SOLAR | HYDRO | BIOMASS | BIOGAS | MSW
1 | 0.1 | 0.15 | 0.3 | 0.25 | 0.3
2 | 0.09 | 0.14 | 0.28 | 0.23 | 0.29
3 | 0.08 | 0.13 | 0.26 | 0.21 | 0.28
4 | 0.07 | 0.12 | 0.24 | 0.19 | 0.27

## RENEWABLE_COST_DATA
The definition of each parameter in Table 5 is as follows:
Period | Period Number
SOLAR | Cost of solar compensatory energy
HYDRO | Cost of hydropower compensatory energy
BIOMASS | Cost of biomass compensatory energy
BIOGAS | Cost of biogas compensatory energy
MSW | Cost of MSW compensatory energy
TABLE 5: COSTS OF RENEWABLE ENERGIES
Period | SOLAR | HYDRO | BIOMASS | BIOGAS | MSW
1 | 51 | 50 | 60 | 101 | 101
2 | 45 | 50 | 60 | 101 | 101
3 | 40 | 50 | 60 | 101 | 101
4 | 40 | 50 | 60 | 101 | 101

## CAPEX_DATA_1
The definition of each parameter in Table 6 is as follows:
Period | Period Number | [5 empty] | User to define heading for each plant
NG | Capital cost for natural gas power plants (fixed cost) | [5 empty] | User to define parameters for each plant/period
OIL | Capital cost for oil power plants (fixed cost) | [5 empty] | User should not alter these headings
COAL | Capital cost for coal power plants (fixed cost)
SOLAR | Capital cost for solar power plants (fixed cost)
HYDRO | Capital cost for hydro power plants (fixed cost)
BIOGAS | Capital cost for biogas power plants (fixed cost)
BIOMASS | Capital cost for biomass power plants (fixed cost)
MSW | Capital cost for MSW power plants (fixed cost)
EP-NETs_1 | Capital cost for EP-NETs technology 1 power plants (fixed cost)
EP-NETs_2 | Capital cost for EP-NETs technology 2 power plants (fixed cost)
EP-NETs_3 | Capital cost for EP-NETs technology 3 power plants (fixed cost)
EC-NETs_1 | Capital cost for EC-NETs technology 1 power plants (fixed cost)
EC-NETs_2 | Capital cost for EC-NETs technology 2 power plants (fixed cost)
EC-NETs_3 | Capital cost for EC-NETs technology 3 power plants (fixed cost)
Annualisation Factor | 0.2
TABLE 6: CAPEX DATA (FIXED COSTS)
Period | NG | OIL | COAL | SOLAR | HYDRO | BIOGAS | BIOMASS | MSW | EP_NETs_1 | EP_NETs_2 | EP_NETs_3 | EC_NETs_1 | EC_NETs_2 | EC_NETs_3 | WIND | NUCLEAR
1 | 80 | 143 | 173 | 150 | 260 | 241 | 313 | 194 | 236 | 236 | 373 | 468 | 380 | 90 | 250 | 500
2 | 80 | 143 | 173 | 135 | 260 | 241 | 313 | 194 | 236 | 236 | 373 | 468 | 380 | 90 | 230 | 500
3 | 80 | 143 | 173 | 105 | 260 | 241 | 313 | 194 | 236 | 236 | 373 | 468 | 380 | 90 | 190 | 500
4 | 80 | 143 | 173 | 60 | 260 | 241 | 313 | 194 | 236 | 236 | 373 | 468 | 380 | 90 | 150 | 500

## CAPEX_DATA_2
The definition of each parameter in Table 7 is as follows:
Period | Period Number | [5 empty] | User to define heading for each plant
NG | Capital cost for natural gas power plants (capacity cost) | [5 empty] | User to define parameters for each plant/period
OIL | Capital cost for oil power plants (capacity cost) | [5 empty] | User should not alter these headings
COAL | Capital cost for coal power plants (capacity cost)
SOLAR | Capital cost for solar power plants (capacity cost)
HYDRO | Capital cost for hydro power plants (capacity cost)
BIOGAS | Capital cost for biogas power plants (capacity cost)
BIOMASS | Capital cost for biomass power plants (capacity cost)
MSW | Capital cost for MSW power plants (capacity cost)
EP-NETs_1 | Capital cost for EP-NETs technology 1 power plants (capacity cost)
EP-NETs_2 | Capital cost for EP-NETs technology 2 power plants (capacity cost)
EP-NETs_3 | Capital cost for EP-NETs technology 3 power plants (capacity cost)
EC-NETs_1 | Capital cost for EC-NETs technology 1 power plants (capacity cost)
EC-NETs_2 | Capital cost for EC-NETs technology 2 power plants (capacity cost)
EC-NETs_3 | Capital cost for EC-NETs technology 3 power plants (capacity cost)
Annualisation Factor | 0.2
TABLE 7: CAPEX DATA (CAPACITY COSTS)
Period | NG | OIL | COAL | SOLAR | HYDRO | BIOGAS | BIOMASS | MSW | EP_NETs_1 | EP_NETs_2 | EP_NETs_3 | EC_NETs_1 | EC_NETs_2 | EC_NETs_3 | WIND | NUCLEAR
1 | 2.274 | 5.5673 | 4.9333 | 7.63 | 4.79 | 16 | 8.44 | 16 | 86 | 71 | 21 | 17 | 14 | 452 | 13.59 | 12
2 | 2.274 | 5.5673 | 4.9333 | 5.89 | 5.13 | 15 | 8.1 | 15 | 86 | 71 | 21 | 17 | 14 | 452 | 13.59 | 12
3 | 2.274 | 5.5673 | 4.9333 | 5 | 5.5 | 14 | 7.8 | 14 | 86 | 71 | 21 | 17 | 14 | 452 | 13.59 | 12
4 | 2.274 | 5.5673 | 4.9333 | 4.1 | 5.9 | 13 | 7.5 | 13 | 86 | 71 | 21 | 17 | 14 | 452 | 13.59 | 12

## ALT_SOLID_CI
The definition of each parameter in Table 8 is as follows:
Period | Period Number
SOLID_1 | Carbon intensity of alternative solid fuel type 1
SOLID_2 | Carbon intensity of alternative solid fuel type 2
TABLE 8: CO2 INTENSITIES OF ALTERNATIVE SOLID-BASED FUELS
Period | SOLID_1 | SOLID_2
1 | 0.2 | 0.4
2 | 0.19 | 0.38
3 | 0.18 | 0.36
4 | 0.17 | 0.34

## ALT_SOLID_COST
The definition of each parameter in Table 9 is as follows:
Period | Period Number
SOLID_1 | Cost of alternative solid fuel type 1
SOLID_2 | Cost of alternative solid fuel type 2
TABLE 9: COSTS OF ALTERNATIVE SOLID FUELS
Period | SOLID_1 | SOLID_2
1 | 20 | 15
2 | 19 | 14
3 | 18 | 13
4 | 17 | 12

## ALT_GAS_CI
The definition of each parameter in Table 10 is as follows:
Period | Period Number
GAS_1 | Carbon intensity of alternative gas fuel type 1
GAS_2 | Carbon intensity of alternative gas fuel type 2
TABLE 10: CO2 INTENSITIES OF ALTERNATIVE GAS-BASED FUELS
Period | GAS_1 | GAS_2
1 | 0.15 | 0.25
2 | 0.14 | 0.23
3 | 0.13 | 0.21
4 | 0.12 | 0.19

## ALT_GAS_COST
The definition of each parameter in Table 11 is as follows:
Period | Period Number
GAS_1 | Cost of alternative gas fuel type 1
GAS_2 | Cost of alternative gas fuel type 2
TABLE 11: COSTS OF ALTERNATIVE GAS FUELS
Period | GAS_1 | GAS_2
1 | 35 | 30
2 | 34 | 29
3 | 33 | 28
4 | 32 | 27

## CCS_DATA
The definition of each parameter in Table 12 is as follows:
Period | Period Number |  |  |  |  | User to define heading for each plant
RR_1 | Removal ratio of CCS technology 1 |  |  |  |  | User to define parameters for each plant/period
X_1 | Parisitic power losses of CCS technology 1 |  |  |  |  | User should not alter these headings
Cost_CCS_1 | Cost of fuel retrofitted with CCS technology 1
RR_2 | Removal ratio of CCS technology 2
X_2 | Parisitic power losses of CCS technology 2
Cost_CCS_2 | Cost of fuel retrofitted with CCS technology 2
FX_Cost_CCS_1 | Fixed cost associated with CCS technology 1
FX_Cost_CCS_2 | Fixed cost associated with CCS technology 1
TABLE 12: CCS DATA
Period | RR_1 | X_1 | Cost_CCS_1 | RR_2 | X_2 | Cost_CCS_2 | FX_Cost_CCS_1 | FX_Cost_CCS_2
1 | 0.85 | 0.15 | 34 | 0.65 | 0.25 | 29 | 600 | 550
2 | 0.86 | 0.14 | 33 | 0.66 | 0.24 | 28 | 590 | 540
3 | 0.87 | 0.13 | 32 | 0.67 | 0.23 | 27 | 580 | 530
4 | 0.88 | 0.12 | 31 | 0.68 | 0.22 | 26 | 570 | 520

## NET_CI_DATA
EP-NETs stands for energy-producing negative emission technologies. Some examples are bioenergy with CCS (BECCS) and biochar. EP-NETs produce energy during CO2 emission removal
EC-NETs stands for energy-consuming negative emission technologies. Some examples are direct air capture (DAC), enhanced weathering etc. EC-NETs consume energy during CO2 emission removal
The definition of each parameter in Table 13 is as follows:
EP_NETs_1 | EP-NETs technology 1 |  |  |  |  | User to define heading for each plant
EP_NETs_2 | EP-NETs technology 2 |  |  |  |  | User to define parameters for each plant/period
EP_NETs_3 | EP-NETs technology 3 |  |  |  |  | User should not alter these headings
EC_NETs_1 | EC-NETs technology 1
EC_NETs_2 | EC-NETs technology 2
EC_NETs_3 | EC-NETs technology 3
TABLE 13: CO2 INTENSITIES OF NETs
Period | EP_NETs_1 | EP_NETs_2 | EP_NETs_3 | EC_NETs_1 | EC_NETs_2 | EC_NETs_3
1 | -0.8 | -0.6 | -0.4 | -0.6 | -0.4 | -0.2
2 | -0.81 | -0.61 | -0.41 | -0.61 | -0.41 | -0.21
3 | -0.82 | -0.62 | -0.42 | -0.62 | -0.42 | -0.22
4 | -0.83 | -0.63 | -0.43 | -0.63 | -0.43 | -0.23

## NET_COST_DATA
EP-NETs stands for energy-producing negative emission technologies. Some examples are bioenergy with CCS (BECCS) and biochar. EP-NETs produce energy during CO2 emission removal
EC-NETs stands for energy-consuming negative emission technologies. Some examples are direct air capture (DAC), enhanced weathering etc. EC-NETs consume energy during CO2 emission removal
The definition of each parameter in Table 14 is as follows:
EP-NETs_1 | EP-NETs technology 1 |  |  |  |  | User to define heading for each plant
EP-NETs_2 | EP-NETs technology 2 |  |  |  |  | User to define parameters for each plant/period
EP-NETs_3 | EP-NETs technology 3 |  |  |  |  | User should not alter these headings
EC-NETs_1 | EC-NETs technology 1
EC-NETs_2 | EC-NETs technology 2
EC-NETs_3 | EC-NETs technology 3
TABLE 14: COSTS OF NETs
Period | EP_NETs_1 | EP_NETs_2 | EP_NETs_3 | EC_NETs_1 | EC_NETs_2 | EC_NETs_3
1 | 43 | 40 | 37 | 49 | 37 | 24
2 | 41 | 38 | 35 | 47 | 35 | 22
3 | 39 | 36 | 33 | 45 | 33 | 20
4 | 37 | 34 | 31 | 43 | 31 | 18

## TECH_IMPLEMENTATION_TIME
EP-NETs stands for energy-producing negative emission technologies. Some examples are bioenergy with CCS (BECCS) and biochar. EP-NETs produce energy during CO2 emission removal
EC-NETs stands for energy-consuming negative emission technologies. Some examples are direct air capture (DAC), enhanced weathering etc. EC-NETs consume energy during CO2 emission removal
The definition of each parameter in Table 14 is as follows:
SOLID_1 | Solid fuel type 1 |  |  |  |  | User to define heading for each plant
SOLID_2 | Solid fuel type 2 |  |  |  |  | User to define parameters for each plant/period
GAS_1 | Gas fuel type 1 |  |  |  |  | User should not alter these headings
GAS_2 | Gas fuel type 2
CCS_1 | CCS technology 1 |  |  |  | KEYS
CCS_2 | CCS technology 2 |  |  |  | YES | Technology is assigned for the selected period
EP-NETs_1 | EP-NETs technology 1 |  |  |  | NO | Technology is not assigned for the selected period
EP-NETs_2 | EP-NETs technology 2
EP-NETs_3 | EP-NETs technology 3
EC-NETs_1 | EC-NETs technology 1
EC-NETs_2 | EC-NETs technology 2
EC-NETs_3 | EC-NETs technology 3
TABLE 15: TECHNOLOGY IMPLEMENTATION TIME
Period | SOLAR | HYDRO | BIOMASS | BIOGAS | MSW | SOLID_1 | SOLID_2 | GAS_1 | GAS_2 | CCS_1 | CCS_2 | EP_NETs_1 | EP_NETs_2 | EP_NETs_3 | EC_NETs_1 | EC_NETs_2 | EC_NETs_3
1 | YES | YES | YES | YES | YES | NO | YES | YES | YES | NO | YES | NO | NO | YES | NO | NO | YES
2 | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | NO | YES | YES | NO | YES | YES
3 | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES
4 | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES

## Results_Min_Emissions (hidden)
| Plant 1 | Plant 2 | Plant 3 | Plant 4 | Plant 5 | Plant 6 | Plant 7 | Plant 8 | Plant 9 | Plant 10 | EP_NET_1 | EP_NET_2 | EP_NET_3 | EC_NET_1 | EC_NET_2 | EC_NET_3
Period 1 | 20.02 | 0 | 15.33 | 0 | 0 | 0 | 6.68 | 17.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Period 2 | 26.18 | 0 | 20.5 | 0 | 0 | 0 | 10.22 | 18.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Period 3 | 26.18 | 0 | 20.5 | 0 | 0 | 0 | 10.22 | 18.1 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Period 4 | 26.69 | 0 | 15.99 | 0 | 7.4 | 0 | 10.22 | 18.1 | 20 | 0 | 0 | 6.6 | 0 | 0 | 0 | 0
Period 5 | 26.7 | 0 | 16.2 | 0 | 7.66 | 0 | 0 | 18.1 | 20 | 25 | 5.46 | 6.6 | 0 | 5.72 | 0 | 0
Period 6 | 26.7 | 0 | 16.4 | 6.32 | 13.44 | 0 | 0 | 18.1 | 20 | 25 | 10.9 | 6.6 | 0 | 8.46 | 0 | 0

## Results_Case_1 (hidden)
| SOLAR | NG | OIL | COAL | EP-NETs | EC-NETs
1 | 20.02 | 15.33 | 0 | 24.65 | 0 | 0
2 | 26.18 | 20.5 | 0 | 28.32 | 0 | 0
3 | 41.18 | 20.5 | 0 | 28.32 | 0 | 0
4 | 46.69 | 23.39 | 0 | 28.32 | 6.6 | 0
5 | 71.7 | 23.86 | 0 | 18.1 | 12.06 | 5.72
6 | 71.7 | 36.16 | 0 | 18.1 | 17.5 | 8.46

## Results_Min_Budget (hidden)
| Plant 1 | Plant 2 | Plant 3 | Plant 4 | Plant 5 | Plant 6 | Plant 7 | Plant 8 | Plant 9 | Plant 10 | EP_NET_1 | EP_NET_2 | EP_NET_3 | EC_NET_1 | EC_NET_2 | EC_NET_3
Period 1 | 26.7 | 21.3 | 0 | 0 | 6.9 | 0 | 0 | 5.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Period 2 | 26.7 | 21.3 | 0 | 0 | 6.9 | 0 | 0 | 5.1 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Period 3 | 26.7 | 21.3 | 0 | 0 | 6.9 | 0 | 0 | 18.1 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Period 4 | 26.7 | 21.3 | 0 | 0 | 12.22 | 0 | 6.67 | 18.1 | 20 | 0 | 0 | 9.83 | 0 | 0 | 9.83 | 0
Period 5 | 26.7 | 21.3 | 0 | 0 | 12.22 | 0 | 0 | 18.1 | 20 | 21.68 | 0 | 10.83 | 0 | 0 | 10.83 | 0
Period 6 | 26.7 | 21.3 | 0 | 9.34 | 12.22 | 0 | 0 | 18.1 | 20 | 25 | 6.75 | 10.83 | 0 | 0 | 15.25 | 0

## Results_Case_2 (hidden)
| SOLAR | NG | OIL | COAL | EP-NETs | EC-NETs
1 | 48 | 6.9 |  | 5.1
2 | 63 | 6.9 |  | 5.1
3 | 65 | 6.9 |  | 18.1
4 | 68 | 12.22 |  | 24.77 | 9.83 | 9.83
5 | 89.68 | 12.22 |  | 18.1 | 10.83 | 10.83
6 | 93 | 21.56 |  | 18.1 | 17.58 | 15.25